|  |
| --- |
| **1.24 Introduction to the Management of Hotel Fire Safety** |
| Level | 4 |
| Duration | Minimum of 6 hours |
| CFPA-E Points | 6  |
| Aim | To provide learners with knowledge that will assist in the identification of fire risks and hazards in hotels and similar premises |
| Target Public | Anyone involved in or responsible for the hotel or accommodation sector who is, or might become involved or responsible for fire safety in this specific environment |
| Prerequisites | Beneficial for learners to have completed the 5-day CFPA-E course Principles of Fire Safety at Work. For those responsible for the operation of larger hotels (>200 beds) Guideline 11 recommends that the CFPA-E syllabus Fire Safety Technical Cycle is followed.  |
| Progression | Courses from the CFPA qualifications framework to broaden knowledge at Level 4 or progress to more in-depth courses at Level 5 |
|  |
| Learning Outcomes | Upon successful completion of the course learners will be able to: |
|  | Specify the principal problems in the organization and management of fire safety in this environment |
|  | Select the different classifications of insurance appropriate to this activity |
|  | Appraise the key causes of fires and associated hazards in such premises |
|  | Appraise the main security and fire prevention, protection and first intervention systems and techniques that are available. Select and apply the appropriate systems to the existing and potential risks and hazards in this environment |
|  | Appraise, using detailed knowledge, the systems universally used to prevent, identify, and suppress fire and in doing so protect people and property in hotel environments |
|  | Evaluate the key management tools and techniques available to support fire safety in this environment, including record keeping, staff training etc. |
|  | Develop the fire prevention, protection and first intervention systems and techniques which will include emergency evacuation and protection plans |
|  | Coordinate an integrated maintenance schedule for the equipment in place for security, fire prevention and protection |
|  |
| Related Guidelines | 1 F; 2 F; 5 F; 11 F; 12 F; 13 F; 14 F; 16 F; 21 F |
| Assessment  | A practical and / or written assessment in the area that is designed for 30 minutes in duration |
| Qualifications | AttestOptional subtitle «Management of Hotel Fire Safety CFPA-E» |